## CofA
www.pro-lab.com
CERTIFICATE OF ANALYSIS
Product Name: | E. coli O157 Antiserum |  |  |  |  | Lot Number: | C19291A
Product Code: | PL.6250 |  |  |  |  | Expiration Date: | 2022-08-31
Additional Information
Storage Conditions: |  | 2-8ºC
Precautions: |  | Refer to Instructions for Use
Quality Control Testing
Organisms |  |  |  |  | Reaction |  | Result
E. coli O157:H7 ATCC 35150 |  |  |  |  | Positive |  | PASS
E. coli O157:H7 ATCC 43895 |  |  |  |  | Positive |  | PASS
E. coli O157:H- Clinical Isolates |  |  |  |  | Positive |  | PASS
E. coli non O157 serotype Clinical Isolates |  |  |  |  | Negative |  | PASS
E. hermanii Clinical Isolates |  |  |  |  | Negative |  | PASS
Release
2021 02 12
Date |  |  |  | Quality Control
Canada ' 800 268 2341 Fax 905 731 0206 |  |  | U.S.A. ' 800 522 7740 Fax 800 332 0450 |  |  | U.K. ' 0151 353 1613 Fax 0151 353 1614
20 Mural Street, Unit #4, Richmond Hill, Ontario, L4B 1K3 |  |  | 21 Cypress Blvd., Suite 1155, Round Rock, Texas 78665-1046 |  |  | 3 Bassendale Road, Bromborough, Wirral, Merseyside CH62 3QL
support@pro-lab.com |  |  | support@pro-lab.us |  |  | uksupport@pro-lab.com
GMP-Form-015 Rev 2 2019 11